## Slide 1
ARDUINO BASED ECG MONITORING
HEALTH CARE SYSTEM

## Slide 2: Guided by :
R.KISHORE - 221005032
R.NAVANEEDHA KRISHNAN - 221005042
M.SALMON FAROSE - 221005051
Project submitted by :
Prof M.CHANDRASEKHARAN
SASTRA DEEMED TO BE UNIVERSITY
SRINIVASA RAMANUJAM CENTER
KUMBAKONAM.

## Slide 3: INTRODUCTION:
Surviving sudden cardiac arrests is one of the major challenge to the medical field today.Sudden cardiac arrests kills about 1000 peoples a day more than other diseases. Monitoring ECG signal at initial stage becomes the first step in preventing sudden cardiac arrest.This project is hence proposed to monitor the ECG rate

## Slide 4: HARDWARE REQUIREMENTS:
Arduino Uno/Mega/Nano
ECG Module (AD8232)
ECG Electrodes - 3 pieces
ECG Electrode Connector -3.5 mm
Power supply
Connecting Wires

## Slide 5: ABSTRACT:
ECG MONITORING USING ARDUINO HELPS IN MONITORING HEARTBEAT RATE VERY ACCURATELY AND ANYWHERE.IT ALSO HELPS IN PROVIDING NECESSARY FIRST AID FOR THE PATIENT IN AMBULANCE BEFORE REACHING THE HOSPITAL.THIS BEING VERY ECONOMIC HELPS IN SAVING LIVES.

## Slide 6: CIRCUIT DIAGRAM:

## Slide 7: CIRCUIT CONNECTIONS:
Arduino 3.3V → 3.3V Pin
Arduino Pin 10 → L0+
Arduino Pin 11 → L0-
Arduino Analog1(A1) → O/P
Arduino Gnd → Gnd

## Slide 8: PROGRAM USED:

## Slide 9: OUTPUT:
Three probes hasbeen used to take the output

## Slide 10: ECG SIGNAL PARAMETERS:

## Slide 11: REFERENCE:
Muhammad Wildan Gifari ; Hasballah Zakaria ; Richard Mengko: Design of ECG Homecare: 12-lead ECG acquisition using single channel ECG device developed on AD8232 analog front end, The 5th International Conference on ElectricalEngineeringand Informatics2015August10-11,2015,Baliindonesia,978-1-4673-7319-7/15/$31.00 ©2015 IEEE, pp 371-376.

## Slide 12: ADVANTAGES:
Data can be uploaded or directly sent to the doctors by using IOT Technology .
By using more electrodes measurement can be more accurate

## Slide 13: FUTURE IMPLEMENTATION:
This ECG Monitoring module can be installed in all ambulances helping doctors in live monitoring of patient's heart beat.Being economical than the normal ECG monitor it is also seen to be accurate

## Slide 14: CONCLUSION:
In this project aims at initial prototype development for wireless transmission of ECG signals. It is evident that designing such a system will help in early detection of abnormal conditions of cardiovascular diseases and prevention of its serious consequences.